Market

Power Industry

Challenge

A failing floor liner for a storm drain retention tank required waterproofing repair; the fiber glass liner was cracked and peeling up in particular sections. This was causing debris to build up under the liner and additional areas to become delaminated.

Engineered Solution     
The HydraLine epoxy system was selected to reline the bottom of the tank and adhere to sections where the existing lining remained in place.

Scope

All delaminated areas of the tank’s floor were removed. Cracked concrete areas were patched. The existing liner was sanded down to an effective subsurface. Then the tank was pressure washed. Finally, HydraLine was installed on the clean and effective subsurface to completely waterproof the bottom of the tank.

Solution

The project was an economical solution compared to a total replacement of the fiber glass liner. The tank was put back into service and continued performing as expected.

HydraTech Engineered Products, LLC

HydraTech Field Services, LLC
10448 Chester Road Cincinnati, Ohio 45215      Phone: (513) 827-9169      Fax: (513) 8279171

https://hydratechllc.com

https://hydratechllc.com/services/field-services/